AUTHORITY TO WORK IN THE VICINITY OF

ELECTRICAL APPARATUS

I s s u e

This authority is issued to:  Wanto (MKN)                               	Date :  1-12-2025

This person is authorized to work in the vicinity of but not on apparatus listed.

Apparatus

| Type | No | Voltage | clearance if exposed H.V in vicinity |
| --- | --- | --- | --- |
| High | 1 | 70.000 Volt 20.000 Volt 11.000 Volt 380 V 220 V | 5 meter unit dgn jaringan 3 meter unit dgn jaringan 3 meter unit dgn jaringan 50 cm unit dgn jaringan 30 cm unit dgn jaringan |

A sketch of the area involved must be attached

Work description:

Pengerukan lumpur di kolam washpad MKN D8

Permitted tools/plant: Excavator, Dump Truck

Safety precautions taken: Hati-hati disekitar area pekerjaan ada jaringan 380 Volt dan Open conductor, perhatikan jarak aman saat bekerja, supervise full, ada spotter saat pekerjaan berlangsung, bila butuh pemadaman listri hubungi team T&D Power Station (08125524901/085250296787), Vicinity permit ini wajib disosialisasikan ke semua pekerja yang terlibat serta dapat di mengerti, dipahami, ditaati, sign on dan telah dibreafing oleh piham power station.

Issued by :                                                                      Date: _________________________

Receipt

| I hereby accept this authority and state that I fully understand the nature and position of the |  |
| --- | --- |
| work entailed. I understand that this authority does not permit me to work on any H.V. |  |
| apparatus. I have been advised of the nature and position of adjacent live apparatus and the |  |
| limits of approach and undertake to instruct the personnel of the working party to observe |  |
| the safety precautions as detailed above. |  |

Person in charge:  Wanto / Z40363                            Date: __________________________

Part    1. Rachmani / Z27058

| Relinquishment |  |  |
| --- | --- | --- |
| I hereby relinquish this authority and all persons will remain clear of the work referred to. |  |  |

Person in charge:Rachmani / Z27058	 Date : __________________________

Part    1.                              2.                               3.                                   4.                                 .

5.                              6.                               7.                                   8.                                 .

Canceled

Isolator :                                                                           Date:                                    .

Manager Work area					KTT ( or appointed person by KTT )

Signed		: _________________________       Signed 	: _______________________                 Date 		: _________________________       Date 		: _______________________